# Academic Grant Writer: Facilities Considerations Guidelines

If building modifications or new equipment installation are needed to accommodate grant activities, any and all associated costs need to be considered. Facilities can help you develop a realistic budget.

Please consider the following prior to submitting your grant application.

## Project Planning

- Clearly define the research scope: Activities, personnel, equipment, and space needs, including any space adjacency requirements.

- Engage Facilities early to assess feasibility and costs. Enter a work request so that a facilities representative can be assigned to work with you (NIU Facilities Work Request).

- Approximate the timeline for when space or equipment must be operational.

## Budget Development, Coordination and Review

- Meet with Facilities to review scope of work needs and to develop a recommended facilities cost estimate.

- Aside from direct research costs, ensure all facility related costs are considered. Please be aware that institutional building maintenance budgets cannot and should not be used for these costs.

- Review cost estimate with Facilities and SPA to determine if any facilities, installation, or contingency costs may be funded by the grant.

- Work with your College to identify a cost center to cover any facilities or installation charges (including labor) (in-house or contractor) that cannot be funded by the grant.

- Consider full lifecycle costs: acquisition, installation, operation, maintenance, decommissioning, or removal.

- Obtain grant specific equipment outside vendor quotes early and share with Facilities contact.

- Work with SPA to document the need for any sole source vendor purchase over $20,000 in the proposal budget narrative.

- Consider timing for work and account for future year cost escalations.

- Include contingency estimates for unforeseen expenses or delays (confirm allowability with SPA).

- Document assumptions for all cost estimates.

## Facility Modifications

- Identify building and room(s) for the project.

- Provide equipment specifications: size, weight, power, ventilation. (Usually manufacturers can provide a “cut-sheet” for the equipment with this information included.)

- Review with Facilities any required modifications: structural, electrical, plumbing, HVAC, safety.

  - Structural (i.e. weight of equipment, hanging requirements, room layout changes)

  - Electrical (i.e. power, lighting, fire alarm, data)

  - Plumbing (i.e. drains, water supply, sprinklers)

  - HVAC (i.e. exhaust, does equipment provide heat, have any required space clearances)

  - Safety (i.e. eye wash/showers, inspection requirements, combustibility)

- Review regulatory or compliance requirements (ADA, biosafety, chemical storage) with Facilities and Lab Safety as applicable.

## Mistakes to avoid

- Delaying consultation with facilities staff

- Submitting proposals without verifying space availability or facility modification needs

- Underestimating costs or timelines for renovations or installations

- Omitting or not accounting for indirect or overhead costs for facility modifications

- Not following SPA and Procurement purchasing procedures.